## Slide 1: Cableless Seismograph Atom for engineering site investigation
Koichi Hayashi
Geometrics/OYO Corporation

## Slide 2: Cableless Seismograph Atom for engineering site investigation
Conventional seismograph
Cableless seismograph

## Slide 3: Cableless seismograph Atom
SD card
A/D
Battery
GPS
Specification | 
Preamp gain | 0db, 12db, 24db, 36db
Distortion | < 0.0001 %
Data storage | 4GB
Frequency response | 0.2 – 200Hz
Dynamic range | 124 dB (measured)
A/D converter | 24 bits
Sampling time | 0.25, 0.5, 1, 2, 4 msec
Dimension | 142×140×102 mm
Weight | Approx. 1.6 kg
Channel number | 1 or 3

## Slide 4: Downloading waveform data using Wi-Fi
Access point
Wi-Fi
Wi-Fi

## Slide 5: Conventional ambient noise tomography based on Seismic Interferometry
Receiver
Receiver
Receiver
Dispersion curves (group velocity) are calculated from different pairs of receivers by Seismic Interferometry

## Slide 6: Ambient noise tomography based on CMP-SPAC
Many dispersion curves (phase velocity) are calculated from different portions of the large array by CMP-SPAC

## Slide 7: Example of 3D ambient noise tomography
100 m
Sensor distribution
Bedrock depth

## Slide 8: Example of 3D ambient noise tomography